# Lab 6: Complexation Reactions and EDTA Titrations

# Introduction

Magnesium (Mg) is the main divalent ion in hard water, and its concentration is important for drinking-water standards, for controlling industrial scaling, and for biological assays. An unknown solution of MgCl2 was measured two different ways and the results compared. The Kf of MgY2− (∼108.7) is much greater than that of Mg–Calmagite, and the indicator changes colour from wine-red to blue at the endpoint when the moles of EDTA have equalled the moles of Mg2+, so the answer is the volume of titrant. The fluorescence reading with HQS gives the same concentration off a calibration curve — quicker and more sensitive, but only valid inside the calibrated fluorescence window and at pH ≈8. The cross-comparison tests both methods on the same sample so that each method’s working range and failure mode shows up against the other.

# Data Analysis

## Part A

### Q1. Overlaid absorbance spectra of Mg(II)/Calmagite at each titration point

Figure 1. Absorbance of the 0.0100 M MgCl2 solution at V = 0–23 mL of 0.0100 M EDTA. The wine-red Mg–Calmagite band at 510 nm decays and a blue free-Calmagite band rises near 610 nm; the dashed line marks λ=610 nm used in Q2.

The V = 28 mL spectrum was excluded: it shows A500=0.299, higher than V = 0, which is impossible under dilution + Mg consumption (cuvette/sample handling error).

### Q2. Absorbance at 610 nm vs. volume of EDTA added (Part A standardization)

Figure 2. A610 vs. V for the standardization. Baseline holds until V = 22 mL, then jumps as blue Calmagite forms; star marks the visual endpoint (22.2 mL,0.043).

### Q3. Average [EDTA] and 95 % CI from shared Part A data

Three groups posted Part A endpoints: Veq={22.5, 22.7, 22.2} mL. For each, [EDTA]=(0.0100 M)(25.00 mL)/Veq:

[EDTA]i={0.01111, 0.01101, 0.01126} M

x=0.01113 M, s=1.25×10−4 M, t0.05,2=4.303:

[EDTA]=x±tsn=11.1±0.3 mM

Manual requested ≥5 trials; only 3 groups have posted at the time of writing.

## Part B

### Q4. Overlaid absorbance spectra of unknown MgCl2/Calmagite at each titration point

Figure 3. Absorbance of unknown MgCl2 at V = 0–38.5 mL of 0.0113 M EDTA. The 525 nm Mg–Calmagite band dominates through V = 33.5 mL; at V = 38.5 mL it shifts to the blue free-Calmagite band at 603 nm. Dashed line: λ=610 nm.

### Q5. Absorbance at 610 nm vs. volume of EDTA added (Part B unknown)

Figure 4. A610 vs. V for the unknown. Baseline through V = 33.5 mL, jump to 0.11 at V = 38.5 mL; star marks the visual endpoint (33.5 mL,0.037).

### Q6. Average [MgCl2] of unknown and 95 % CI from shared Part B data

Three groups posted Part B endpoints: Veq={33.0, 34.0, 33.5} mL. Using the Q3 average [EDTA]=0.01113 M:

[MgCl2]unk,i=(0.01113 M)⋅Veq25.00 mL={0.01469, 0.01513, 0.01491} M

x=0.01491 M, s=2.22×10−4 M:

[MgCl2]unk=14.9±0.6 mM

Only 3 groups posted; manual requested ≥5.

## Part C

### Q7. Absorbance spectrum of the Mg(II)/HQS solution

Figure 5. Absorbance of the unknown Mg–HQS solution. λmax=383 nm with a shoulder near 405 nm.

### Q8. Choice of λexcitation (405 nm vs. 500 nm)

405 nm: A405=0.16 while A500≈0, so the Mg–HQS complex absorbs at 405 nm but not at 500 nm.

### Q9. Fluorescence spectrum of the unknown MgCl2/HQS solution

Figure 6. Fluorescence emission at λexc=405 nm: λem=513 nm, peak intensity 0.0252 (rel.). All three of my replicate readings (0.0233, 0.0243, 0.0252) fell below the 0.032–0.085 calibration window.

### Q10. Mg–HQS fluorescence calibration curve

Figure 7. Calibration: F=(2.01×102 M−1)[Mg2+]+0.0173, R2=0.990. Concentrations were back-calculated from the 0.0100 M MgCl2 stock diluted into HQS, e.g. (0.0100)(0.8)/(0.8+100)=7.94×10−5 M.

### Q11. Slope and intercept with 95 % CI

For n=4, df = 2, t0.05,2=4.303. Regression statistics: sy|x=2.79×10−3, ∑(xi−x)2=3.80×10−8 M2, giving SEm=14.3 M−1, SEb=3.12×10−3.

m=(2.0±0.6)×102 M−1  b=0.02±0.01

### Q12. Average [MgCl2]unk and 95 % CI from fluorescence

Three groups posted Part C fluorescence values (each with the same 0.5 mL / 25.0 mL HQS dilution): F={0.02170, 0.02166, 0.02430}. Inverse-regress each through [Mg2+]dil=(F−b)/m, then apply the 51× back-dilution factor:

[MgCl2]unk,i=(Fi−0.01730)201.4 M−1×51.0={1.11, 1.10, 1.77}×10−3 M

x=1.33×10−3 M, s=3.83×10−4 M:

[MgCl2]unk=1.3±1.0 mM

Only 3 groups posted; manual requested ≥5. The wide CI reflects the third group’s outlier-high F, and that all three measurements fell below the calibration window.

# Discussion

### Q13. Percent error for each method

[MgCl2]true=0.0150 M.

EDTA: %err=|0.01491−0.0150|/0.0150×100%=0.6%. HQS: %err=|0.00133−0.0150|/0.0150×100%=91%→90% (1 sf). EDTA was the more accurate method.

### Q14. Hypothesize one reason for error in each method.

EDTA: the observed deviation is due to the uncertainty of ±0.2 mL on the visual endpoint for a titration of ∼33 mL: this is a deviation of ±0.6% of the volume.

HQS: all three measured intensities were less than the lowest calibration standard (0.031), meaning that each back-calculation is an extrapolation. The 51× dilution factor will amplify any small offset (pH drift from 8, failure to mix the 0.5 mL aliquot) into a large concentration error.

### Q15. Describe what is happening to Mg2+ in the solution described in Parts A/B before any EDTA is added and before and after the endpoint of the titration with EDTA is reached.

Prior to EDTA, Mg2+ is largely aquated and only a small proportion exists as the wine-red Mg–Calmagite complex. In titration: EDTA binds Mg2+ first (with Kf greater than that of water and Calmagite), then removes Mg2+ from Calmagite to form colourless MgY2−. Once the endpoint has been reached, all Mg2+ has been complexed into MgY2−, Calmagite reverts to its blue free form, and excess EDTA remains unreacted.

### Q16. Describe what is happening to Mg2+ before and after HQS is added in Part C.

Before HQS: Mg2+ is aquated as [Mg(H2O)6]2+, non-fluorescent. After HQS is added, it chelates Mg2+ through phenolate-O and pyridine-N to form rigid Mg(HQS)2, whose locked geometry suppresses non-radiative decay so the complex emits at 513 nm when excited at 405 nm.

# Instrumentation

### Q17. What is HQS? How is it different from EDTA?

HQS (8-hydroxyquinoline-5-sulfonic acid) is a bidentate chelator that forms fluorescent complexes with Mg2+ through phenolate-O and ring-N. EDTA is a hexadentate chelator with a much higher Kf for Mg2+ (∼108.7 vs. ∼104−5 for Mg–HQS), so EDTA is used as the stoichiometric titrant while HQS is used as the spectroscopic probe — fluorescence, not binding strength, is the readout.

### Q18. Why do we use a buffer in Parts A and B? Why do we check pH in Part C? Explain why the pH matters for each experiment.

It is only the fully deprotonated Y4− form of EDTA that reacts effectively with Mg2+, which means that a higher pH will favour the reaction; however, above pH 10 Mg2+ will precipitate as Mg(OH)2. Parts A/B are held in the NH4OH buffer to maximise [Y4−] while minimising loss of Mg to hydroxide. In Part C, Mg–HQS is very pH sensitive and has maximum fluorescence intensity at pH 8, so the pH paper test verifies that the unknown is in the same range as the calibration standards.