# Lab 6: Complexation Reactions and EDTA Titrations

# Introduction

Magnesium is the dominant divalent cation in hard water, and quantifying [Mg2+] matters for drinking-water standards, industrial scaling, and biological assays. I measured an unknown MgCl2 solution two ways and compared them. EDTA titration with Calmagite gives an absolute, stoichiometric reading: EDTA’s Kf for MgY2− (∼108.7) far exceeds Mg–Calmagite’s, so the indicator turns from wine-red to blue exactly when EDTA has matched the moles of Mg2+, and the titrant volume is the answer. HQS fluorescence reads the same concentration from a calibration curve — faster and more sensitive, but only valid inside the calibrated fluorescence window and at pH ≈ 8. Running both lets each method’s working range and failure mode be tested against the same sample, which is what the cross-comparison is for.

# Data Analysis

## Part A

### Q1. Overlaid absorbance spectra of Mg(II)/Calmagite at each titration point

Figure 1. Absorbance of the 0.0100 M MgCl2 solution at V = 0–23 mL of 0.0100 M EDTA. The wine-red Mg–Calmagite band at 510 nm decays and a blue free-Calmagite band rises near 610 nm; the dashed line marks λ=610 nm used in Q2.

The V = 28 mL spectrum was excluded: it shows A500=0.299, higher than V = 0, which is impossible under dilution + Mg consumption (cuvette/sample handling error).

### Q2. Absorbance at 610 nm vs. volume of EDTA added (Part A standardization)

Figure 2. A610 vs. V for the standardization. Baseline holds until V = 22 mL, then jumps as blue Calmagite forms; star marks the visual endpoint (22.2 mL,0.043).

### Q3. Average [EDTA] and 95 % CI from shared Part A data

Three groups posted Part A endpoints: Veq={22.5, 22.7, 22.2} mL. For each, [EDTA]=(0.0100 M)(25.00 mL)/Veq:

[EDTA]i={0.01111, 0.01101, 0.01126} M

x=0.01113 M, s=1.25×10−4 M, t0.05,2=4.303:

[EDTA]=x±tsn=11.1±0.3 mM

Manual requested ≥5 trials; only 3 groups have posted at the time of writing.

## Part B

### Q4. Overlaid absorbance spectra of unknown MgCl2/Calmagite at each titration point

Figure 3. Absorbance of unknown MgCl2 at V = 0–38.5 mL of 0.0113 M EDTA. The 525 nm Mg–Calmagite band dominates through V = 33.5 mL; at V = 38.5 mL it shifts to the blue free-Calmagite band at 603 nm. Dashed line: λ=610 nm.

### Q5. Absorbance at 610 nm vs. volume of EDTA added (Part B unknown)

Figure 4. A610 vs. V for the unknown. Baseline through V = 33.5 mL, jump to 0.11 at V = 38.5 mL; star marks the visual endpoint (33.5 mL,0.037).

### Q6. Average [MgCl2] of unknown and 95 % CI from shared Part B data

Three groups posted Part B endpoints: Veq={33.0, 34.0, 33.5} mL. Using the Q3 average [EDTA]=0.01113 M:

[MgCl2]unk,i=(0.01113 M)⋅Veq25.00 mL={0.01469, 0.01513, 0.01491} M

x=0.01491 M, s=2.22×10−4 M:

[MgCl2]unk=14.9±0.6 mM

Only 3 groups posted; manual requested ≥5.

## Part C

### Q7. Absorbance spectrum of the Mg(II)/HQS solution

Figure 5. Absorbance of the unknown Mg–HQS solution. λmax=383 nm with a shoulder near 405 nm.

### Q8. Choice of λexcitation (405 nm vs. 500 nm)

405 nm: A405=0.16 while A500≈0, so the Mg–HQS complex absorbs at 405 nm but not at 500 nm.

### Q9. Fluorescence spectrum of the unknown MgCl2/HQS solution

Figure 6. Fluorescence emission at λexc=405 nm: λem=513 nm, peak intensity 0.0252 (rel.). All three of my replicate readings (0.0233, 0.0243, 0.0252) fell below the 0.032–0.085 calibration window.

### Q10. Mg–HQS fluorescence calibration curve

Figure 7. Calibration: F=(2.01×102 M−1)[Mg2+]+0.0173, R2=0.990. Concentrations were back-calculated from the 0.0100 M MgCl2 stock diluted into HQS, e.g. (0.0100)(0.8)/(0.8+100)=7.94×10−5 M.

### Q11. Slope and intercept with 95 % CI

For n=4, df = 2, t0.05,2=4.303. Regression statistics: sy|x=2.79×10−3, ∑(xi−x)2=3.80×10−8 M2, giving SEm=14.3 M−1, SEb=3.12×10−3.

m=(2.0±0.6)×102 M−1  b=0.02±0.01

### Q12. Average [MgCl2]unk and 95 % CI from fluorescence

Three groups posted Part C fluorescence values (each with the same 0.5 mL / 25.0 mL HQS dilution): F={0.02170, 0.02166, 0.02430}. Inverse-regress each through [Mg2+]dil=(F−b)/m, then apply the 51× back-dilution factor:

[MgCl2]unk,i=(Fi−0.01730)201.4 M−1×51.0={1.11, 1.10, 1.77}×10−3 M

x=1.33×10−3 M, s=3.83×10−4 M:

[MgCl2]unk=1.3±1.0 mM

Only 3 groups posted; manual requested ≥5. The wide CI reflects the third group’s outlier-high F, and that all three measurements fell below the calibration window.

# Discussion

### Q13. Percent error for each method

[MgCl2]true=0.0150 M (TA-provided).

EDTA: %err=|0.01491−0.0150|/0.0150×100%=0.6%. HQS: %err=|0.00133−0.0150|/0.0150×100%=91%→90% (1 sf). EDTA was the more accurate method.

### Q14. One hypothesized source of error for each method

EDTA: ±0.2 mL uncertainty on the visual endpoint over a ∼33 mL titration is ∼0.6% — accounts for the observed deviation.

HQS: all three measured intensities fell below the lowest calibration standard (0.031), so each back-calculation is an extrapolation. The 51× dilution factor amplifies any small offset (pH drift from 8, incomplete mixing of the 0.5 mL aliquot) into a large concentration error.

### Q15. State of Mg2+ before, during, and after the EDTA endpoint (Parts A/B)

Before EDTA: Mg2+ is mostly aquated, with a small fraction bound to Calmagite as the wine-red complex. During titration: EDTA scavenges free Mg2+ first (its Kf exceeds water’s and Calmagite’s), then strips Mg2+ off Calmagite into colourless MgY2−. After the endpoint: all Mg2+ is locked into MgY2−, Calmagite reverts to its blue free form, and excess EDTA stays unreacted.

### Q16. State of Mg2+ before and after HQS is added (Part C)

Before HQS: Mg2+ is aquated as [Mg(H2O)6]2+, non-fluorescent. After HQS: it chelates Mg2+ through phenolate-O and pyridine-N to form rigid Mg(HQS)2, whose locked geometry suppresses non-radiative decay and emits at 513 nm under 405 nm excitation.

# Instrumentation

### Q17. What is HQS, and how is it different from EDTA?

HQS (8-hydroxyquinoline-5-sulfonic acid) is a bidentate chelator that forms fluorescent complexes with Mg2+ through phenolate-O and ring-N. EDTA is a hexadentate chelator with much higher Kf (∼108.7 vs. ∼104−5 for Mg–HQS), so EDTA is used as the stoichiometric titrant; HQS is used as the spectroscopic probe — fluorescence, not binding strength, is the readout.

### Q18. Why use a buffer in Parts A and B, and why check the pH in Part C?

Only fully deprotonated Y4− chelates Mg2+ effectively, so higher pH favours the reaction — but above pH 10, Mg2+ precipitates as Mg(OH)2. The NH4OH buffer holds Parts A/B at pH 10 to maximise [Y4−] without losing Mg to hydroxide. In Part C, Mg–HQS fluorescence intensity is sharply pH-dependent and peaks at pH 8, so the pH paper check confirms the unknown sits in the same window as the calibration standards.